Emergency Planning Committee Participant manual

Department of Health

To receive this publication in an accessible format email Centre for Learning and Professional Development <learning@dhhs.vic.gov.au>

Authorised and published by the Victorian Government, 1 Treasury Place, Melbourne.

© State of Victoria, Department of Health and Human Services, April 2019.

Available from the department’s website < https://providers.dhhs.vic.gov.au/fire-safety-induction-program-24-hour-supported-accommodation>

>

Contents

1. Introduction	5

What is an Emergency Planning Committee?	5

2. Standards and requirements	6

2.1 Fire risk management	6

2.2 Capital Development Guidelines	7

2.3 Fire & Emergency Response Procedures Training Framework	9

2.4 Australian Standard 3745:2010 Planning for emergencies in facilities	9

2.5 Fire Service Agreement	10

3. Emergency Planning Committee	11

3.1 Emergency Planning Committee Definition	11

3.2 Emergency Planning Committee Scope	11

3.3 Emergency Planning Committee Membership	11

3.4 Emergency Planning Committee Roles and Responsibilities	12

4. Establish and implement an Emergency Plan	13

4.1 Establish and implement the Emergency Plan	13

4.2 Emergency Management Planning	13

4.3 Emergencies	14

4.4 Emergency Response Procedures Manual	16

4.4 Emergency Response Procedures Manual	19

5. Hazard Management	23

5.1 Identifying Hazards	23

5.2 Analysing Hazards	23

6. Planning for and managing human behaviour	26

6.1 Human Behaviour	26

6.2 Planning for Human Behaviour	26

6.3 Training for Human Behaviour	26

6.4 Evacuation Packs	27

7. Establish an Emergency Control Organisation	29

7.1 What is the Emergency Control Organisation	29

7.2 ECO Structure	29

7.3 ECO Authority	29

7.4 ECO Roles and Responsibilities	29

7.5 ECO Identification	32

7.6 ECO training schedule	33

8. Bushfire Survival Plans	35

8.1 Bushfire Overview	35

8.2 Bushfire Survival Plans	35

8.3 Victorian Fire Risk Register – Bushfire (VFRR-B)	36

8.4 DHHS Bushfire Response: Clients and Services Policy	36

8.5 Total Fire Ban Days	37

8.6 Fire Danger Rating scale	37

Extreme	38

Severe	38

Very high, high, low-moderate	38

8.7 Emergency Information and Warnings	39

8.8 How Bushfires occur	40

8.9 Bushfire Behaviour	40

8.10 Bushfire Procedures	42

9. Wrap up	44

Thank you	44

Remember	44

# 1. Introduction

Welcome to the Emergency Planning Committee Training Course The purpose of this training is to give you clear guidelines on your role in developing and updating residential Fire and Emergency Response Procedures and, where relevant, Bushfire Survival Plans

## What is an Emergency Planning Committee?

A group or committee consisting of at least 2 people responsible for the development, implementation and maintenance of the emergency plan, emergency response procedures and related training in a building or facility.

# 2. Standards and requirements

## 2.1 Fire risk management

The Department of Health and Human Services (DHHS) is committed to providing safe and secure buildings for its staff and clients

Fire is a serious safety risk, and DHHS recognises the risk can be greater where accommodation is provided or impairments exist with clients

To ensure effective Fire Risk Management (FRM) the primary objectives of DHHS’s approach to FRM includes:

Keeping people in DHHS facilities (clients, staff and visitors) safe from illness or injury due to fire

Complying with relevant fire safety and occupational health and safety laws

Other FRM objectives include:

Maintaining DHHS services to the Victorian community

Minimising disruption to DHHS operations

Protecting assets

Life safety takes precedence over asset protection

Effective FRM relies on a complex interaction between a range of factors including:

Client and staff profiles

Building type and use

Building compliance

Fire safety measures such as fire alarm, detection, suppression, and life safety and emergency exit lighting

Emergency management measures such as fire and emergency evacuation plans, emergency procedures and fire emergency procedures training

DHHS’s approach to FRM is the process of determining whether an appropriate level of fire safety is achieved by undertaking:

Fire safety audits

Fire safety compliance checks

Fire risk assessments (where necessary)

Key components of DHHS’s FRM include the Capital Development Guidelines (CDG’s) and the Fire and Emergency Response Procedures and Training Framework (FERPTF)

## 2.2 Capital Development Guidelines

The Capital Development Guidelines (CDGs) outline DHHS policies, procedures and processes designed to manage the risks to life due to fire in certain types of buildings or facilities which are owned, operated or funded by DHHS.

The comprise the following documents:

Guideline 7.0 - First time users

Guideline 7.1 - Policy and procedure

Guideline 7.2 - Engineering guidelines

Guideline 7.3 - Secure facilities

Guideline 7.4 - Supported community based houses

Guideline 7.5 - Congregate care facilities

Guideline 7.6 - Hospitals

Guideline 7.7 - Community based houses

Guideline 7.8 - Single dwellings

Guideline 7.9 - Multi-storey housing

Guideline 7.10 - Accommodation buildings

Guideline 7.11 - Short Term Emergency Accom.

Guideline 7.12 - Disaster recovery facilities

The CDG’s set out requirements for:

Physical fire safety measures (fire alarm, detection, suppression systems)

Emergency management

Emergency Evacuation Diagrams

Emergency Procedures Manuals

Fire and Emergency Training

### Applicability of CDG’s

Buildings which do not provide bed-based care or sleeping accommodation for clients are not required to comply with the Guidelines unless they intrinsically form part of a building or facility that does.

In this course we focus on the following facility types:

Guideline 7.3 - Secure Facilities

Guideline 7.4 - Supported community-based houses

Guideline 7.5 - Congregate Care Facilities

Guideline 7.7 - Community-based houses

Guideline 7.11 - Short Term Emergency (Contingency) accommodation

CDG 7.3 Secure Facilities

Secure Facilitates provide accommodation and education for children or young adults (typically under 18 years) who are subject to a court order for secure welfare.

CDG 7.4 Supported Community-Based Houses

The key characteristics of Supported Community-based houses include:

Domestic style residential care buildings

Accommodation for up to 8 clients who may have physical and/or intellectual disabilities

24 hour staffing (may be sleep-over or up right active) when clients are present

Note: Staff are not considered clients.

CDG 7.5 Congregate Care Facilities

Congregate Care Facilitates are larger residential accommodation buildings requiring 24 hour care which provide accommodation for:

More than 8 clients who may have physical and/or intellectual disabilities or

More than 8 clients who are children or young adults (typically under 18 years, but up to 21 years) or

Accommodation for the aged who may not necessarily require assistance to evacuate or

Mental health facilities

- CDG 7.7 Community-Based Houses

The key characteristics of Community-based houses include:

Small domestic style buildings

Accommodation for up to 8 clients, where generally no more than 1 client requires assistance to evacuate in an emergency

24 hour staffing (may be sleep-over or up right active) when clients are present

CDG 7.11 Short Term Emergency (contingency) Accommodation

Short term emergency accommodation includes buildings/facilities provided for children and young people in out-of-home care or persons with a disability assigned to the Department.

Occupation of these buildings is limited to a maximum of 6 months for clients.

## 2.3 Fire & Emergency Response Procedures Training Framework

The Fire and Emergency Response Procedures and Training Framework (FERPTF) provides a set of standards and guidelines for the management of emergencies including:

Fire safety training (FSIP)

Fire and emergency response procedures

Organisational structures for emergency management

All properties covered by the FERPTF must have an Emergency Planning Committee (EPC) and an Emergency Control Organisation (ECO).

The FERPTF is consistent with:

The Occupational Health and Safety Act 2004

The Occupational Health and Safety Regulations 2007

Australian Standard 3745:2010 - Planning for emergencies in facilities.

## 2.4 Australian Standard 3745:2010 Planning for emergencies in facilities

AS3745 outlines the minimum requirements for the establishment, validation and implementation of an emergency plan for a facility.

It aims to ensure safety of occupants of that facility and its visitors leading up to, and during an emergency.

The standard includes the following:

The formation, purpose, responsibility and training of the emergency planning committee

Emergency identification

The development of an emergency plan

The development of emergency response procedures

The establishment, authority and training of an emergency control organisation and

The testing and validation of emergency response procedures

Emergency related training (e.g. Warden or Fire extinguisher training)

### Activity 1 – Evacuation Diagrams

Discussion

In groups using the activity booklet identify at least 1 minimum element in relation to the construction of Evacuation diagrams as listed in AS3745.

## 2.5 Fire Service Agreement

The CEO of an organisation is required to sign off a certificate of compliance annually for every residential facility. This will state that the facility is compliant with all fire safety and risk management audits and practices.

An EPC must be aware of their responsibility to ensure compliance with the relevant components of the Agreement is met.

# 3. Emergency Planning Committee

## 3.1 Emergency Planning Committee Definition

All DHHS facilities must have an EPC. The Fire and Emergency Response Procedure and Training Framework defines the EPC as:

“A committee responsible for establishing an emergency plan, setting up the Emergency Control Organisation and establishing a training, drill and exercise regime.”

## 3.2 Emergency Planning Committee Scope

In regards to:

Secure Facilities with LESS than 21 clients (CDG 7.3)

Supported community-based houses (CDG 7.4)

Congregate Care Facilities (CDG 7.5) and

Community-based houses (CDG 7.7),

the FERPTF specifies the following requirements for the EPC:

“An EPC shall be appointed for the facility/building, may have responsibilities for more than one building or facility and would not normally work in the facility/building.

The EPC must be available to the Chief Warden and Nominated Fire Risk Management Officer and should visit the facility at least once per calendar year.”

For Secure Facilities with MORE than 20 clients:

“An Emergency Planning Committee shall be appointed for the facility/building consisting of management and staff from the facility/building.”

## 3.3 Emergency Planning Committee Membership

The EPC should include members of the senior management team responsible for the facility or group of facilities and the Nominated Fire Risk Management Officer.

NOTE: The EPC of any given facility reserves the ability to engage subject matter experts to assist in their scope.

### Activity 2 – EPC

Discussion

In groups outline experts or officials that may be consulted to assist with the EPC scope?

## 3.4 Emergency Planning Committee Roles and Responsibilities

The responsibilities of the EPC are consistent with those outlined in AS3745:2010

Supported community-based houses (CDG 7.4) and Community-based houses (CDG 7.7)

Establish and implement emergency plans for each facility.

Establish the ECO for the facility.

Arrange for appropriate training.

Review the effectiveness of the emergency arrangements and evacuation exercises (including client capabilities).

Establish first aid procedures.

Supported community-based houses (CDG 7.4) and Community-based houses (CDG 7.7)

In the event of an emergency:

Establish plans for the continued operation of the facility involved in an emergency

Ensure that the media is dealt with (usually through the Media Unit)

Provide briefings for relatives where necessary

Prepare announcements to staff

Establish and maintain liaison with senior executives.

Secure facilities (CDG 7.3) and Congregate Care facilities (CDG 7.5)

Establish and implement an emergency plan.

Ensure personnel are appointed to all positions on the ECO.

Arrange for the training of the ECO in accordance with DHHS policy.

Review the effectiveness of the ECO and evacuation exercises.

Establish an Emergency and Fire Control Centre where required.

Establish first aid procedures as part of the emergency plan.

Secure facilities (CDG 7.3) and Congregate Care facilities (CDG 7.5)

In the event an emergency:

Receive briefings and provide support to the Chief Warden as necessary

Provide technical information to the Chief Warden

Establish plans for the continued efficient operation of the facility

Ensure that the media is dealt with usually through the Media Unit

Provide structured briefings for relatives

Prepare announcements to staff

Establish and maintain liaison with senior executives of the organisation

Post incident/ emergency:

Consider participating in debrief at facility

Review the incident response

Ensure the procedures adequately addressed the emergency

Review the procedures as required

Ensure staff and wardens in place were prepared for response

Review training as required

# 4. Establish and implement an Emergency Plan

## 4.1 Establish and implement the Emergency Plan

Creating an emergency plan is a critical role of the EPC.

Generic DHHS procedures for small residential facilities are documented in the “Fire and Emergency Response Procedures Manual”

Template used for community-based and supported community-based facilities (CDG 7.7, CDG 7.4)

Must be modified to suit location

Has user guide for use to prepare manual

## 4.2 Emergency Management Planning

Generally, emergency management planning is organised around four phases:

### Prevention

Prevention is the result of strategies and services to reduce the frequency or lessen effects of emergency incidents.

Strategies include:

Fire safety audits

Housekeeping

Electrical checks

Safe cooking

Smoke free

Obstruction free egress

Client behaviours

Hoarding

Arson

Storage of combustibles

Fire awareness

No electric blankets

No portable heaters*

### Preparedness

Preparedness is the result of strategies and services to position people in the workplace to respond to emergency events quickly and effectively.

Strategies include:

Preparing emergency plan

Maintaining emergency equipment

Establishing Emergency Control Organisation

Identifying suitable emergency assembly area/s

Emergency training

Emergency exercises/drills

### Response

Activities designed to contain, control or minimise the immediate impacts of an emergency

Strategies include: RACE

Removing persons in immediate danger

Alerting the emergency services and residents/clients or visitors/contractors

Contain the incident by limiting access of suppressing

Evacuating the facility proceeding to a designated safer place

### Recovery

Activities designed to minimise disruption to a facility post incident occurrence

Strategies include:

Counselling for residents and staff (C.I.S)

Debriefing ECO members and other staff

Briefings for relatives

Preparing a report for senior executives

Reviewing the effectiveness of response procedures

## 4.3 Emergencies

What is an emergency?

“a serious, unexpected, and often dangerous situation requiring immediate action” (Oxford Dictionary)

“Any event (internal or external) which may adversely affect persons and which requires an immediate response” (AS 3745)

### Building Emergencies - can occur at any time

Human

Bomb, Bomb Threat

Building Invasion

Armed Intrusion

Personal Threat

Chemical, biological Radiological/nuclear

Civil disorder

Medical Emergency

Arson

Explosion

Natural

Bushfire/Grass fire

Cyclones incl. storm surge

Earthquake

Explosion

Fire and Smoke

Flood

Severe weather/storm

Technological

Hazardous substances incidents

Industrial incidents

Electrical incidents

Structural instability

Transport incidents

Toxic emissions

### Further Developments of Emergency Situations

Air contamination

Hazardous materials

Danger of explosion

Risk of cross-infection

Environmental impacts

Risk of threatening behaviour

Injury

loss of life or property

Loss of communications

Structural collapse

Loss of containment

Exposures

Vapours, fumes, gases

Reaction of people to the emergency

Spread of hazard/incident area

### Activity 3 – Emergency Identification

Discussion

In groups analyse the following facilities determining:

Emergencies likely to impact them and

Further developments

Facility 1

Facility 2

Facility 3

## 4.4 Emergency Response Procedures Manual

### Command & Control

The procedures should consider the options given to the leaders of an Emergency Control Organisation (ECO) in AS3745 including:

Evacuation (Full / Partial)

Fire, internal hazards

Shelter in place

Weather events, external hazards

Lock down

Civil disturbance, gunman loose in area, protests

No immediate action required (stand-by)

Waiting for confirmation of incident

### Characteristic of the facility

The characteristics of the facility should be considered when developing emergency response procedures, including:

Construction type

Brick veneer

Weatherboard

Layout

Location of kitchen, laundry, bedrooms

Fire safety measures

Passive fire protection (fire rated doors walls)

Active fire protection (sprinkler systems)

### Client and staff profiles

Client and staff profiles should also be taken into account when developing emergency response procedures.

Staff profile:

| Staffing Profile | Staffing arrangement |
| --- | --- |
| Type 1 | No staff present |
| Type 2 | Staff present only as required |
| Type 3 | 24hr staff – sleepover |
| Type 4 | 24hr staff – active night |

Client profile:

| Ambulant (Type 1) | Ambulant (Type 2) | Ambulant (Type 3) | Non-ambulant (Type 4) | Non-ambulant (Type 5) | Non-ambulant (Type 6) |
| --- | --- | --- | --- | --- | --- |
| Able to respond to an alarm. Able to independently evacuate without staff present. | Able to respond to an alarm. Can evacuate with staff intervention or evacuate independently with a delay. Evacuation plan may include providing verbal instructions, limited physical assistance. | Not able to understand or respond to an alarm but, can evacuate with staff intervention. | Able to understand and respond to an alarm but, may not be able to evacuate independently or, will take extra time to evacuate independently. They will require verbal instructions and substantial physical assistance. | Not able to understand or respond to an alarm and not able to evacuate without physical assistance. The client will require verbal instructions and substantial physical assistance from staff to evacuate. | Cannot be evacuated (i.e. on life support or similar). |

### Duties and responsibilities:

The emergency response procedures should detail the actions to be taken in an emergency by staff, occupants and visitors, including the duties of the ECO.

### Communication:

The response procedures should include the methods of warning and communication to be used during an emergency, including the communications equipment.

### Emergency Service Organisations (ESO’S)

ESO’s have a statutory responsibility for the control and suppression of particular incidents as determined by the Emergency Management Act and manual.

While one ESO may have control, support agencies will assist the control agency to combat some incidents (e.g. POL CFA AV MVA)

### Victoria Police

Control Agency for incidents such as:

Aircraft, marine, rail or road incidents

Food supply, critical infrastructure damage

Explosive device

Heatwave

Cave, land, mine rescue

Threats against person/s, property, environment

### Fire Service – Country Fire Authority Metropolitan Fire Brigade

Control Agency for incidents such as:

Fire

Gas leakage

Building, rail, road, trench rescue

Hazmat or dangerous goods incidents

Lifts, cranes, scaffolding and amusement structures

Pollution inland waters

Explosion

Pressure vessels

### Ambulance Victoria

Control Agency for incidents such as:

Emergency medical care

Emergency medical transport

### State Emergency Service

Control Agency for incidents such as:

Earthquake

Flood

Storm

Tsunami

Building, rail, aircraft, industrial, and road rescue (depending on location)

Emergency Management Victoria: A statutory body that coordinates emergency management policy.

The Emergency Management Commissioner leads the coordinated response of Victoria’s emergency management sector. This includes most large scale, complex emergencies such as:

Fires

Floods

Storms

Earthquakes

Structural collapses

Chemical Spills

EMV are currently reviewing the FERPTF for DHHS to ensure compliance with relevant standards and legislation including actions/involvement on high risk bushfire days.

### Activity 4 – Emergency Control Agencies

Discussion

In groups list emergency service organisations likely to be in attendance at the following incidents:

Motor vehicle accident

Fire

Earthquake

Chemical spill

### Emergency control point:

Consideration should be given to identifying an Emergency Control Point (ECP).

An ECP is defined as a location from which the ECO can control the response and liaise with ESO’s.

### Activity 5 – Emergency Control Point

Discussion

In the event that a facilities Emergency Control Point has been compromised by fire where would a default position be recommended?

## 4.4 Emergency Response Procedures Manual

### Emergency response equipment:

The response procedures must include instructions on the use of emergency response equipment in the facility.

Portable fire extinguishers: dry chemical

Using the Brooks Alarm 2000 or Other Fire Indicator Panels?

Can staff operate and interpret these systems?

### What warning systems exist for the site?

Alert Tone (Beep – Beep)

Stand-by

Evacuation Tone (Whoop – Whoop)

Evacuate

### Emergency response equipment:

Residential fire sprinkler systems

### Emergency Assembly Area(s) selection

The assembly area should be located in a position that provides protection from the emergency for the evacuees. Other factors to take into consideration include:

The route being safe and free from obstructions

Accessible by the impaired

Access for emergency services not hindered and

Allowing for further movement by evacuees

### Order of evacuation

Ambulant

people who don’t require assistance

Semi Ambulant

people who may require assistance

Non Ambulant

people who require assistance

### Client Evacuation Management Plans

As identified in ‘client profiles’ some occupants may have trouble responding to an alarm, requiring instruction or physical assistance.

AS3745 requires the development of Personal Emergency Evacuation Plans (PEEP) for people who require assistance to evacuate.

The DHHS Manual Template provides for development of ‘Resident Evacuation Management Plans’.

Important consideration should be given to developing PEEP’s Pre-emergency.

Pre – Emergency:

Ensure PEEP’s completed for all persons requiring them

Position least ambulant or impaired in rooms nearest the emergency exits

List requirements for action (mobility aids, hoists)

Store copies of PEEP’s in Evacuation Packs

Important consideration should be given to developing PEEP’s Pre-emergency.

Post – Emergency:

Review the effectiveness of the PEEP

Discuss with client if necessary

Integral building system

Contain fire, smoke and heat

Rated up to 4 hours

# 5. Hazard Management

## 5.1 Identifying Hazards

What is a hazard?

A hazard is something that can cause harm, e.g. electricity, chemicals, working up a ladder, noise stress, etc.

What is a risk?

A risk is the chance, high or low, that any hazard will actually cause somebody harm.

A number of factors should be taken into account when identifying risks and potential emergencies in your facilities including:

The size and complexity of the facility

Physical safety measures installed

Occupant and staff profiles (staffing hours if at all)

The location of the facility

The number and nature of visitors

Proximity of commercial or industrial sites

## 5.2 Analysing Hazards

Hazard analysis involves developing an understanding of hazards by considering what causes the hazards and then assessing the level of risk associated with the hazard.

Likelihood VS Consequence

The Fire and Emergency Response Procedures Manual Template User Guide provides a set of criteria to label and rate the likelihood and consequence.

Likelihood:

When considering the consequence the DHHS risk analysis process applies an impact rating to both occupants and the facility.

Consequence:

Once likelihood and consequence has been determined the risk analysis process assigns a rating:

Once likelihood and consequence has been determined the risk analysis process assigns a rating:

Hazards rated as “Significant” or “severe” MUST be developed and included in the Fire and Emergency Response Procedures

# 6. Planning for and managing human behaviour

## 6.1 Human Behaviour

In an emergency such as a fire, lives are saved if people can be evacuated before the conditions in the environment become fatal. Time is critical. Therefore, human behaviour in the first moments of an emergency can directly impact the success of an evacuation.

## 6.2 Planning for Human Behaviour

Understanding how people may react in an emergency will help you plan appropriate emergency and evacuation procedures, and help DHHS staff deal effectively with people in an emergency

Research reveals that:

While movies may show panic, in a real emergency panic itself is quite rare.

Disbelief is one of the most common behaviours

People tend to take ‘cues’ from others causing delay even in the presence of clear messages or alarms

Further dynamics to consider include:

Exit using familiar exits – emergency exits perceived as unsafe, unknown

Freeze, flight, fight, fright (panic)

Help syndrome

Need for clear messages and alarms

Search for an ‘Expert’ and ‘Official’

‘Sheep mentality’

Post video we can agree with research that concludes the time to make a decision and the quality of the decision is improved when:

Clear, consistent emergency warnings and information is given

Information and warnings are provided by an ‘official source’ (ECO, manager)

Individuals have received training or have experience in what to do during an emergency

## 6.3 Training for Human Behaviour

A number of strategies can be implemented to promote more effective human behaviour in the event of an emergency including:

Staff orientation

Client orientation

Fire safety training, and evacuation drills and exercises

### Staff orientation

Before commencing work at a facility, staff should receive an orientation on the arrangements in place for the evacuation and care of residents including:

Emergency procedures

Location of emergency equipment

Location of exit paths and assembly areas, and

Client profiles

### Client orientation

Residents or clients should also receive orientation on the arrangement in place for the evacuation of the facility and the location of emergency exits.

### Fire safety training

Regular fire safety training and evacuation drills and exercises will help staff to recognise an emergency situation and implement procedures.

ECO’s have a positive impact on human behaviour by:

Providing clear relevant information

Acting and speaking with authority

Remaining calm and focused; and

Wearing ECO identification

### Evacuation exercises

Where appropriate, clients should participate in evacuation exercises to ensure familiarity with:

Emergency warnings

Emergency signals

Evacuation procedures

The building layout

Emergency exits and routes

## 6.4 Evacuation Packs

Evacuation packs must be provided for each residential building in each facility.

They should include:

ECO Identification

emergency procedures and evacuation plans

profiles for people with a disability

emergency telephone numbers

house plan showing bedroom locations

Torch (no ‘wind-up’ torches)

First Aid Kit

Incentives (gum, lollies)

### Activity 6 – Refusals to Evacuate

Discussion

In groups discuss how you would expect ‘refusals to evacuate’ to be managed in the following categories:

A client

A co-worker

A visitor

# 7. Establish an Emergency Control Organisation

## 7.1 What is the Emergency Control Organisation

The FERPTF defines the ECO as:

“A structured organisation which organises an appropriate response to emergency situations.”

Australian Standard 3745 Planning for emergencies in facilities defines the ECO as:

“ A person or persons appointed by the Emergency Planning Committee to direct and control the implementation of the facility’s emergency response procedures.”

## 7.2 ECO Structure

In large or complex facilities, the ECO usually includes a range of positions including:

Chief Wardens

Deputy Chief Wardens

Communication Officers

Area / Floor Wardens

Wardens

First Aid Officers

For small residential facilities (CDG 7.4 & 7.7) the ECO will normally consist of the most senior staff member on duty

## 7.3 ECO Authority

The EPC should ensure that occupants are advised of the ECO’s authority.

AS3745 states:

“During emergencies, instructions given by the emergency control organization (ECO) personnel shall take precedence over the normal management structure.”

The authority is intended to ensure life safety is the key priority in an emergency, above other considerations such as asset or environmental protection

## 7.4 ECO Roles and Responsibilities

The following slides explain the expected roles and responsibilities of members of the ECO as defined in AS3745:2010 Planning for emergencies in facilities.

### Chief Warden

Pre-Emergency :

Maintain a current register of ECO members

Notify/Replace members when appropriate

Arrange / organise evacuation exercises

Ensure emergency response procedures are maintained

Be a member of the EPC*

Ensure ECO identification and resources are available

Emergency :

Move to the Emergency Control Point (ECP/FIP) and take control

Ascertain the nature of the emergency

Determine appropriate action (What / Where / How BIG / People at risk)

If necessary initiate emergency response procedures

Ensure the appropriate emergency service has been notified

Ensure the Area Wardens are advised of situation

Monitor progress and maintain incident log

Brief the emergency services personnel upon arrival, on the type, scope & location of the emergency and then act on the senior officer’s instructions

Brief the On-call Manager and EPC

- Post Emergency:

Consider occupants to return/reoccupy if safe to do so

Liaise with emergency services

Notify appropriate services to reinstate services to building

Consider possible damage to facility

can you re-occupy?

If not, what happens to occupants

Injured occupants

Attend debrief with Emergency Service if applicable

Debrief ECO

Compile incident reports for

EPC

DHHS

Organising other support services as required

Identify opportunities for improvement for further training

### Communications Officer

Pre-Emergency:

Training in communications equipment

Personal

Wardens

Maintain records and logbooks

Ensure currency of emergency contact information

Attend training and exercises

Ensure communications equipment is operational

Emergency:

Act as directed by the Chief Warden

Ascertain the nature and location of the emergency

7.4 ECO Roles and Responsibilities

Confirm Emergency Services notified

Notify the appropriate ECO members

Transmit & record instructions and information

Record an incident log

Post Emergency:

Collate records of events during the emergency

Participate in debrief

Secure records for future reference

Attend further training if required

### Floor / Area Warden

Pre-Emergency:

Confirm sufficient Wardens for area

Report equipment deficiencies

Ensure Wardens communicate emergency procedures to all occupants within area

Ensure occupants are:

Informed of procedures

Aware of who wardens are

Coordinate safety practices by Wardens

Attend training and exercises

Ensure ECO identification available

Emergency:

Implement the emergency procedures for floor or area

Ensure the appropriate emergency service has been notified

Direct Wardens to check the floor or area for any abnormal situation

Commence evacuation if the circumstances on their floor or area warrant this

Communicate with the Chief Warden by whatever means available and act on instructions

Advise the Chief Warden as soon as possible of the circumstances and action taken

Co-opt persons as required to assist a Warden during an emergency

Confirm that the activities of Wardens have been completed and report this to the Chief Warden

Post Emergency:

Report on actions taken during the emergency at debrief

Report on any near misses, incidents, injuries and/or illnesses

### Warden

Pre-emergency:

Ensure occupants aware of emergency procedures

Carry out safety practices

Ensure you have ECO identification

Attend training as required by EPC

Emergency:

Act as Floor/Area Wardens if required

Operate communications systems in place

Check fire/smoke doors are closed

Close other open doors (in accordance with your procedures)

Search floor/area to ensure occupants are evacuated

Ensure orderly flow of people into protected areas (i.e. stairwells)

Assist occupants/visitors with a disability

Act as leader of groups moving to assembly areas

Monitor occupants/visitors at assembly area

Report back to Floor/Area Warden

Additional responsibilities:

Monitor Assembly area

Is it safe?

Monitoring condition of occupants

Injuries/illnesses/near misses

Logistics

Food/Water

Communication with Chief Warden

Persons unaccounted for

Current conditions of assembly area

All clear to return to building

Post-emergency:

Report on actions taken during the emergency at debrief

Report on any near misses, incidents, injuries and/or illnesses

Post initial response activities:

Assist with recovery activities

Assisting with authorised restoration of normal activity

Participating in debriefing

Restricting entry to danger areas

Requests for emergency services or specialist response team

Relocating or providing welfare services for evacuated persons

## 7.5 ECO Identification

The following identification is referenced for use by the ECO as specified in AS3745

Helmets

Caps/Hats

Vests

Tabards

- Single storey deployment

Multi-level deployment

## 7.6 ECO training schedule

Training schedule

Within one month of start

All Occupants

Upon commencement of ECO duties

ECO Members

Every six months (skills retention)

ECO Members

Every 12 months

Occupants

Evacuation

Exercises

Emergency Response Team

Every 2 years

First Attack

Fire Fighting

# 8. Bushfire Survival Plans

## 8.1 Bushfire Overview

Victoria is one of the most bushfire-prone areas in the world. Bushfire poses a major risk to life and property.

In the 2009 ‘Black Saturday’ fires:

173 people were killed

414 people injured

2,100 houses destroyed displacing 7,562 people.

The basic weather conditions on the day.

46oC temp.

100km/h wind

Drought

Bushfire risk is influenced by:

The location and accessibility of the property

The amount and type of surrounding vegetation

The condition and placement of buildings

The availability of water

The physical capabilities of people with a disability

## 8.2 Bushfire Survival Plans

Bushfire Survival Plans are required for all DHHS facilities likely to be at risk from bushfire including facilities that:

Are in geographical areas that CFA consider are in the Victorian Fire Risk Register - Bushfire (VFRR-B) extreme risk category (updated quarterly)

Are assessed as facilities at risk from bushfire based on regional assessment or advice from an expert or authority

Bushfire Survival Plans should include the following:

Preparing and maintaining the property through the fire danger period in Victoria

Triggers to enact the Bushfire Survival Plan

Emergency procedures during and after a bushfire

Actions for different fire danger rating days

Relocation procedures (if applicable)

Returning to the facility

Fire and emergency contacts

## 8.3 Victorian Fire Risk Register – Bushfire (VFRR-B)

The VFRR-B is a process in which representatives from:

Local government

Fire services

Public land managers

Utilities

Community groups

Map assets at risk from bushfire and assess the level of risk to the asset.

Assets may include (but are not limited to):

Residential areas

Children’s services

Hospitals

Flora

Fauna

Aged-care

Infrastructure

Commercial industry

Tourism events

Agency representatives are to record the current treatments which are carried out to mitigate the risk to the asset.

The VFRR-B has been facilitated in 67 of the 79 municipalities, 5 Alpine Resorts and French Island. Metropolitan Municipalities do not require a bushfire risk assessment.

The VFRR-B supports and informs Municipal Fire Management Plans.

## 8.4 DHHS Bushfire Response: Clients and Services Policy

Bushfire Survival Plans for facilities located in the VFRR-B extreme risk areas (or other identified high risk facilities) require a relocation plan to form part of the Fire and Emergency Response Procedures (leaving Early).

The relocation plan is to be compliant with the most recent version of the ‘DHHS Bushfire Response: Clients and Services Policy’ unless a formal exemption is approved by a senior department officer.

Relocation Plans (leaving early) should include:

Leaving early trigger (usually Code Red fire rating)

Leaving early time

Daylight hours or night prior

Staffing of transport cannot be guaranteed on the morning of a Code Red day

Relocation destination or destinations

Relocation route – more than one route may be determined depending on the destination and bushfire risk involved

## 8.5 Total Fire Ban Days

### What is a Total Fire Ban (TFB)?

A TFB is a set of legal restrictions on what activities can or can not occur in a particular district for that day. It aims to reduce the activities that may start a fire.

On or before TFB days:

Evacuation Plans should be in place

Local fire brigade and police should know of your plans and the evacuation requirements of all occupants.

What are the TFB districts?

Victoria is divided up into 9 districts. TFB days are determined by these districts or statewide bans may be declared.

## 8.6 Fire Danger Rating scale

What is the Fire Danger Rating (FDR) Scale?

The Fire Danger Rating Scale is designed to indicate how dangerous a fire would be if it started.

A high rating does not mean a fire will occur, it emphasises the high risk of fire to those people in the forecast area.

Ratings are forecast using the Bureau of Meteorology data for up to four day in advance based on weather and environmental conditions such as fuel load.

## Extreme

What does it mean?

These are the worst conditions for a bush or grass fire.

Homes are not designed or constructed to withstand fires in these conditions.

The safest place to be is away from high risk bushfire areas.

What should I do?

Leaving high risk bushfire areas the night before or early in the day is your safest option - do not wait and see.

Avoid forested areas, thick bush or long, dry grass and know your trigger - make a decision about:

When you will leave

Where you will go

How you will get there

When you will return

What if you cannot leave

## Severe

What does it mean?

Expect extremely hot, dry and windy conditions.

If a fire starts and takes hold, it will be:

Uncontrollable

Unpredictable and fast moving.

Spot fires will start, move quickly and come from many directions.

Some homes may provide protection such as those that are situated and constructed or modified to withstand a bushfire, that are well prepared and actively defended, may provide safety.

You must be physically and mentally prepared to defend in these conditions.

What should I do?

Consider staying with your property only if you are prepared to the highest level.

This means your home needs to be situated and constructed or modified to withstand a bushfire, you are well prepared and you can actively defend your home if a fire starts.

If you are not prepared to the highest level, leaving high risk bushfire areas early is your safest option.

Be aware of local conditions and seek information by listening to your emergency broadcasters

## Very high, high, low-moderate

What does it mean?

If a fire starts, it can most likely be controlled in these conditions and homes can provide safety.

Be aware of how fires can start and minimise the risk.

Controlled burning off may occur in these conditions if it is safe - check to see if permits apply.

What should I do?

Check your bushfire survival plan.

Monitor conditions.

Action may be needed.

Leave if necessary.

## 8.7 Emergency Information and Warnings

Where can I go to obtain information during an emergency or on a high risk day?

Victorian Bushfire Information Line - 1800 240 667.

VicEmergency website - www.emergency.vic.gov.au

FireReady app

Emergency Radio Broadcasters  - 3AW 693 (metropolitan)

CFA Facebook and Twitter accounts

### VicEmergency Website

A single all-emergencies website for Victorians with real time Google map display of incidents and warnings across Victoria including (but not limited to):

Fires

Floods

Storms

Power outages

HAZMAT incidents

Traffic incidents

VicEmergency displays icons depicting different emergencies, and different levels of warnings, on a map.

Warnings may also be issued from other sources such as FM or AM radio frequencies

Level of warnings include:

- Advice

An incident is occurring or has occurred in the area. Access information and monitor conditions.

### Level of warnings:

Watch and act / Warning

An emergency is heading toward you. Conditions are changing and you need to take action now to protect yourself and your family.

Emergency warning

You are in imminent danger and need to take action now. You will be impacted.

Emergency Warnings made via television or radio may be played following the SEWS tone.

Evacuation

An evacuation is recommended or procedures are in place to evacuate.

Evacuation messages made via television or radio may be played following the SEWS tone.

## 8.8 How Bushfires occur

Fires are often explained using the ‘Fire triangle/pyramid’

Oxygen: A fire cannot start or continue to burn without oxygen.

Heat: Without enough heat, a fire cannot start or continue to burn

Fuel: Without a supply of fuel, a fire will stop

Bushfires can occur naturally or as a result of human activity whether accidental or deliberate.

Accidental causes may include:

Arcing powerlines

Campfires

Cigarettes

Maintenance or industrial activities

Controlled burns that have breached containment

## 8.9 Bushfire Behaviour

Bushfires spread as a result of burning embers, radiant heat and direct flame contact.

Grassfires tend to be fast moving, have a low to medium intensity and primarily damage crops, livestock and farming infrastructure, such as fences

Bushfires tend to move slower, but produce more heat. Fire in the crowns of a tree canopy can move rapidly.

### Fire spreads in four ways

Convection

Air drawn into the fire is superheated causing it to rise, carrying with it the products of incomplete combustion (embers etc.)

Example:Spot fires away from fire

Conduction

The transmission of heat through solid objects.

Example:Heat transmitted through steel beams and columns igniting combustible material on the other side.

Direct Burning

The action of applying direct flame or energy contact to combustible materials.

Example: A match to a piece of paper

Radiation/ Radiant Heat

The transfer of heat from the heat source surface onto another combustible surface. When the heat is great enough it can ignite combustible material or surface.

Example: Open fireplace radiating onto drying rack or curtain.

Protection from Radiant Heat

People can protect themselves from radiant heat by:

Moving away from the fire as far as possible.

Doubling the distance reduces the radiant heat load by four

Taking shelter behind a solid non-transparent object

Covering exposed skin

Appropriate clothing:

Wide-brimmed hat

Eye protection (e.g. smoke goggles)*

Mask*

Long-sleeved collared shirt and long pants made from natural fibre to protect from radiant heat

Gloves

Sturdy boots and wool socks

Bushfire behaviour, such as intensity and the speed and direction of spread, is determined by three main factors:

Fuel

Topography

Weather

Wind

Temp

Humidity

Drought

Fuel

The main source of fuel is vegetation. The fuel type, quantity, arrangement and moisture content will influence fire behaviour

Common fuel types include:

Grass

Plantation forest trees

Ground litter (leaves, bark, branches)

Bush/scrub (eucalypts with understorey vegetation)

Topography

The lay of the land will greatly effect fire behaviour. Fires accelerate up hill and slow down hill. The aspect of a hill may also determine the type of vegetation.

The speed of a fire front doubles with every 10 degree increase of slope.

Weather

Bushfires are most likely to start or continue when ambient temperature is high. The higher the temperature the less heat needed to ignite fuels.

On dry days or long periods of drought the moisture of fuels evaporates quickly making it even easier to ignite.

Wind influences the:

Speed at which a fire spreads

Direction & size of fire front

Intensity of a fire – wind provides more oxygen

Likelihood of spotting – burning pieces of leaves, twigs and bark the wind carries

## 8.10 Bushfire Procedures

Action to take in bushfires or grass fires – on foot

Walk across and downhill

Try to get around and behind the fire

Look for possible refuges to protect yourself from radiant heat, such as:

man-made structures such as pipes or train bridges

running streams or pools

eroded gullies free of scrub

holes made by fallen trees

Action to take in bushfires or grass fires – in vehicle

Avoid bushfire danger

When approaching smoke across the road, slow down at once.

Do not drive through smoke when visibility is severely impaired.

Wait for someone to come through from the other side who can give you the all clear.

Drive slowly, switch on your headlights and watch out for:

firefighting vehicles or personnel on the road, and

fallen trees across the road.

Action to take in bushfires or grass fires

- Trapped in a car

Do not leave the car.

Park in the best area of bare ground available, such as:

against an embankment in a cutting

in a gravel pit or roadside clearing

an areas with the least amount of scrub alongside

Never park under trees.

You should:

turn lights on

close all windows and vents

lie down on the floor below window level

shield yourself from radiant heat, with a woolen blanket or thick clothing

stay in your car until the fire front has passed

Car safety items

When travelling in the country always carry:

Water bottle

Phone

Large woollen blanket in the boot

First Aid Kit

# 9. Wrap up

## Thank you

We have addressed the following outcomes

DHHS standards and requirements

Emergency Planning Committee

Establish and implement an emergency plan

Hazard management

Planning for and managing human behaviour

Establish an Emergency Control Organisation

Bushfire survival plans

## Remember

Plan

Do

Check

Adjust