The Certificate is to be signed by the CEO (or equivalent) acting for or on behalf of the Funded Organisation to confirm that premises coming within the Organisation’s control comply with the Department’s Capital Development Guidelines Series 7 – Fire Risk Management.  The completed certificate covering a specific financial year should be submitted to the Department’s Program & Service Advisor (PASA) before 30 September in the following financial year.

Refer overleaf for instructions on completion of this certificate.

##### Property Address:  ______________________________________________

(provide a schedule for multiple sites/buildings)

- From the information obtained, I am satisfied that the property listed above or on the attached list, has been assessed in terms of the current statutory and departmental fire safety requirements as follows:

DHS Capital Development Guidelines Series 7: Fire Risk Management Any Outstanding works resulting from an audit which may be the Funded Organisation’s responsibility, has been reported to the building owner

Maintenance Any factor that is relevant to provisions of the Building Act and Building Regulations including the annual essential safety measures report, which have come to the attention of the Funded Organisation have been reported to the building owner.

The Emergency Response Policy and Procedures The following are in place and updated as required: - documented emergency management and evacuation procedures are being exercised which meet AS 3745 or the DHS Guideline: Fire & Emergency Response Procedures and Training Framework (FERPTF), as appropriate, - appropriate documentation to demonstrate that these procedures have been tested through fire drills and can be effectively implemented in the event of an emergency, - appropriate staff training arrangements to enable these procedures to be carried out, and - any additional procedure, as documented in a fire safety report

- I certify that all reasonable steps have been taken for the preceding twelve-month reporting period to ensure that the fire safety measures fulfilled their required purpose and that procedures are in place for this to continue for the next twelve months.

Signed for and on behalf of the Funded Organisation

Signature:  ________________________________          Date:  ____________

Name:        __________________________          Title:  _________________________

Address      ______________________________________________________________

###### Application: This certificate is only to be used for government owned sites.

Type of service: bed-based with 24-hour rostered/live in staff support/supervision.

Premises: owned or leased by the State Government (the Crown, the Secretary of the department or the Director of Housing), but not rental general stock

Other: Where the department’s Guidelines Series 7, Fire Risk Management do apply.

Services may include disability (including respite), placement and support, secure welfare, juvenile justice, mental health, drug and alcohol and Supported Accommodation Assistance Program (SAAP) residential services.

Certification is retrospective for the preceding twelve-month financial period.   Certificates fall due after 1 July each year and for Departmental reporting purposes should be completed before 30 September in the same year.

Service Agreement: For government owned properties operated by a Funded Organisation (FO), a signed Certificate No.4 must be completed by the Funded Organisation.

Certificate No.4 s the means for the Funded Organisation to certify to the owner that the facility has been maintained and will continue to be maintained for the next twelve months and that any outstanding fire safety items that do not satisfy the Series 7 Capital Development Guideline have been reported, reviewed and scheduled for action by a determined date.   It also certifies that emergency management and evacuation procedures are in place and exercised to meet Australian Standards AS 3745.

DHS Capital Development Guidelines Series 7 - Fire Risk Management (FRM Guidelines). The FRM Guidelines assist in determining the appropriate level of fire safety to be afforded to clients accommodated at the facility and takes into account the requirements of relevant acts, regulations and the BCA.

Audits: To satisfy these requirements the FRM Guidelines require audits of the fire safety features and in some instances fire risk assessments to be undertaken.   A audit process is programmed on a 5 yearly rolling basis.   New works undergo a desk-top assessment that includes certification.   If a facility has not had an audit or re-audit conducted within the past 5 years or if an audit has been conducted and immediate or priority recommendations are outstanding, further investigation should be undertaken before completing the fire safety certificate.

Annual Essential Safety Measures Report (ESM Report): Consistent with the Building Regulations requirements for maintenance of buildings, the FRM Guidelines also require maintenance and testing of essential safety measures for the facilities.   An annual essential safety measures report for each facility must be completed (applies to properties in use for a period of twelve months) as evidence of the maintenance required and undertaken.   In completing this certificate it is important to confirm that the report has been developed.   Annual fire maintenance declarations provided by the contracted fire services maintenance manager (e.g. Housing & Community Building, COMAC) together with other records of maintenance at the facility assist in providing evidence of the maintenance undertaken in the previous twelve months and will be required to complete the annual ESM Report.

The DHS Fire & Emergency Response, Procedures and Training Framework (FERPTF) document focuses on policies and procedures for fire & emergency response procedures and training.  Under FERPTF, facility management is required to ensure that staff are trained, drills are conducted and that documented emergency procedures are in place.   A fundamental requirement in managing this and other FERPTF requirements is the establishment of Emergency Planning Committees (EPC).

For facilities managed by a Funded Organisation where the program has not mandated FERPTF a formalised process is required to ensure the requirements of AS3745 are being met.

Schedule of fire safety works: In most instances, a facility is likely to have some outstanding fire safety work whether it is a drill not being conducted, an audit recommendation outstanding or a fire extinguisher with an overdue service.  Whilst technically this may be viewed as a non-compliance of the property, the fire safety certificate can be completed with schedule of outstanding works attached.   However, if there are identified fire safety related issues of a more severe nature, eg. sprinklers not installed, this should be discussed with your regional Program & Service Advisor (PASA) and Fire Risk Co-ordinator who may need to undertake a risk assessment to determine what action is required and the detail that is to be included in a report for the facility.