The Certificate is to be signed by the CEO (or equivalent) acting for or on behalf of the Funded Organisation to confirm that premises coming within the Funded Organisation’s control comply with the Department’s Capital Development Guidelines Series 7 – Fire Risk Management.  The completed certificate covering a specific financial year should be submitted to the Department’s Program & Service Adviser (PASA) before 30 September in the following financial year.

Refer overleaf for instructions on completion of this certificate.

##### Property Address:  ______________________________________________

(provide a schedule for multiple sites/buildings)

- I certify that from the information obtained and to the best of my knowledge that the property listed above or on the attached list has been assessed in terms of the current statutory and departmental fire safety requirements as follows:

| The DHS Capital Development Fire Risk Management Guidelines Series 7: Fire Risk Management, specifically Guideline 7.1 & Guideline 7.____ (insert relevant guideline number) |  |
| --- | --- |
| The Date of the last fire safety compliance check, fire safety audit/risk assessment report is …………………………….. or as indicated in the attached schedule of properties |  |
| The relevant provisions of the Building Act and building regulations are being met including the annual essential safety measures report | Yes/No |
| Outstanding works from last audit(s) are in the attached schedule with details of Immediate and Priority works and the Action Plan to address these items over the next 12 months |  |
| The Emergency Response Policy and procedures required by the DHS Guideline: Fire & Emergency Response Procedures and Training Framework (FERPTF) are being met. OR FERPTF does not apply, and the requirements to the level specified in the Australian Standards (ie. AS3745 as amended) are being met | Yes/No OR Yes/No |

2.	I certify that any identified fire related issues have been discussed by the management of the Funded Organisation or the regional Fire Risk Management Co-ordinator, as appropriate.

3.	I certify that all reasonable steps have been taken for the preceding twelve-month reporting period to ensure that the fire safety measures fulfil their required purpose and that procedures are in place for this to continue for the next twelve months.

Signed for and on behalf of the Funded Organisation

Signature:  ____________________________________          Date:  ________

Name:        __________________________          Title:  _________________________

Address      ______________________________________________________________

###### Application: This certificate is only to be used for non government-owned sites.

Type of service: bed-based with 24-hour rostered/live in staff support/supervision for statutory clients.

Premises: owned or leased by the Funded Organisation, but not a private home

Other: Where the department’s Guidelines Series 7, Fire Risk Management do apply.

Services may include disability (including respite), placement and support, mental health, drug and alcohol and Supported Accommodation Assistance Program (SAAP) residential services.

Certification is retrospective for the preceding twelve-month financial period.   Certificates fall due after 1 July each year and for Departmental reporting purposes should be completed before 30 September in the same year.

Service Agreement: For non-government owned properties that accommodate statutory clients and are operated by a Funded Organisation (FO), a signed Certificate No.5 must be completed by the funded Organisation.

Certificate No.5 is the means for a Funded Organisation to certify that the facility has been maintained and will continue to be maintained for the next twelve months and that any outstanding fire safety items that do not satisfy the departmental Guidelines Series 7, Fire risk Management have been reported, reviewed and scheduled for action by a determined date.   It also certifies that emergency management and evacuation procedures are in place and exercised to meet Australian Standards, AS 3745.

DHS Capital Development Guidelines Series 7 - Fire Risk Management (FRM Guidelines) assist in determining the appropriate level of fire safety to be afforded to clients accommodated at the facility and takes into account the requirements of relevant acts, regulations and the BCA.

Audits: To satisfy these requirements the FRM Guidelines require audits of the fire safety features and in some instances fire risk assessments to be undertaken.   A audit process is programmed on a 5 yearly rolling basis.   New works undergo a desk-top assessment that includes certification.   If a facility has not had an audit conducted within the past 5 years or if an audit has been conducted and immediate or priority recommendations are outstanding, further investigation should be undertaken before completing the fire safety certificate.

Annual Essential Safety Measures Report (ESM Report): Consistent with the Building Regulations requirements for maintenance of buildings, the FRM Guidelines also require maintenance and testing of essential safety measures for the facilities.   An annual essential safety measures report for each facility must be completed (applies to properties in use for a period of twelve months) as evidence of the maintenance required and undertaken.   In completing this certificate it is important to confirm that the report has been completed.   Annual fire maintenance declarations provided by the contracted fire services maintenance manager (e.g. Housing & Community Building, COMAC or other) together with other records assist in providing evidence of the maintenance undertaken in the previous twelve months and will be required to complete the annual ESM Report.

The DHS Fire & Emergency Response, Procedures and Training Framework (FERPTF) document focuses on policies and procedures for fire & emergency response procedures and training.  Under FERPTF, facility management is required to ensure that staff are trained, drills are conducted and that documented emergency procedures are in place.   A fundamental requirement in managing this and other FERPTF requirements is the establishment of Emergency Planning Committees (EPC).

For facilities managed by a Funded Organisation where the Program has not mandated FERPTF, a formalised process is required to ensure the requirements of AS3745 are being met.

Schedule of fire safety works: In most instances, a facility is likely to have some outstanding fire safety work whether it is a drill not being conducted, an audit recommendation outstanding or a fire extinguisher with an overdue service.  Whilst technically this may be viewed as a non-compliance of the property, the fire safety certificate can be completed with schedule of outstanding works attached.   However, if there are identified fire safety related issues of a more severe nature, eg. sprinklers not installed, this should be discussed with your regional Program & Service Advisor (PASA) and Fire Risk Co-ordinator who may need to undertake a risk assessment to determine what action is required and the detail that is to be included in a report for the facility.

SCHEDULE OF FIRE SAFETY WORKS

DHS Funded Organisation Name  ………………………………..

Property Details  ……………………………………….

Street Address/Postcode  …………………………………………………

| Outstanding fire safety work from the last fire safety audit report and the current annual Essential Safety Measures report |  |  | Status |  |  |
| --- | --- | --- | --- | --- | --- |
| Description of item to action | Priority Urgent, P1, P2/P3 | Order of Cost Estimate | Actions | Timing for implementation completion | Comments Issues/Impacts |