| Fire Safety Induction Program Answer manual |
| --- |
| To receive this publication in an accessible format email Centre for Learning and Professional Development <learning@dhhs.vic.gov.au> Authorised and published by the Victorian Government, 1 Treasury Place, Melbourne. © State of Victoria, Department of Health and Human Services, December 2018. Available at <https://providers.dhhs.vic.gov.au/fire-safety-induction-program> |  |  |

Department of Health

Department of Health

Contents

Assessment requirements	4

Fire Awareness	5

Assessment: Fire Awareness	5

Fire Prevention	6

Activity: Hazardous Area: Kitchen	6

Activity: Hazardous Area: Bedroom	6

Activity: Hazardous Area: Laundry	6

Activity: Hazardous Area: External	6

Activity: Room Escape routes	6

Assessment: Fire Prevention	6

Smoke Alarm Systems	8

Assessment: Smoke Alarm Systems	8

Sprinkler systems	9

Assessment: Sprinkler systems	9

Emergency procedures theory	10

Activity: Order of evacuation	10

Activity 1: Identify how to practice emergency evacuation procedures	10

Activity 2: Identify how to practice emergency evacuation procedures	10

Activity: Identify the steps for the Standard Fire Orders	10

Activity: Identify the fire orders that have not been followed	10

Activity: Identify what should be included in an evacuation diagram	11

Activity 1: Identify the appropriate evacuation routes and assembly areas	11

Activity 2: Identify the appropriate evacuation routes and assembly areas	11

Activity:  Identify which items should be in an evacuation pack	11

Assessment: Emergency procedures theory	12

Emergency evacuation exercises	13

Activity: Effectively planning an exercise	13

Assessment: Emergency evacuation exercises	13

Portable fire extinguishers and fire blankets	14

Activity: What should this extinguisher be used for?	14

Activity: Using the fire blanket correctly	14

Assessment: Portable fire extinguishers and fire blankets	14

Other fire emergencies	16

Activity: Radiant heat is the killer	16

Activity: Trapped in a car	16

Assessment: Other fire emergencies	16

Assessment requirements

Department of Health

Department of Health

Staff are required to correctly answer at least 80% of the assessment questions to be marked competent:

Follow the below marking guide when assessing competency.

Fire awareness: 3 out of 3 questions

Fire prevention: 5 out of 6 questions

Smoke alarm system: 3 out of 3 questions

Sprinkler system: 4 out of 5 questions

Emergency procedures theory: 8 out of 10 questions

Emergency evacuation exercises: 4 out of 5 questions

Portable fire extinguishers and fire blankets: 8 out of 10 questions

Other fire emergencies: 8 out of 10 questions

# Fire Awareness

## Assessment: Fire Awareness

What are the three elements required for a fire to occur?

Heat, fuel and oxygen

What are the four main reasons why fires occur?

Ignorance, arson, reward and stupidity

What are the three ways to extinguish a fire?

Cooling, starving and smothering

# Fire Prevention

## Activity: Hazardous Area: Kitchen

Clean oils and fats from around stove

Keep curtains and other combustible items away from the stove

Keep range hoods clean

Turn handles of pots and saucepans on the stove inwards

## Activity: Hazardous Area: Bedroom

Do not place combustible materials over ducted heating outlets

Discard lampshades that are too close to the globe

Do not leave portable heaters on when leaving the residential facility

## Activity: Hazardous Area: Laundry

Store cleaning materials away from sources on ignition or heat

Clean all cleaning cloths according to instructions

Switch off all electrical appliances when not in use

Clean the dryer’s filter after every use

## Activity: Hazardous Area: External

Ensure your house number is clearly visible

Store flammable liquids I purpose-designed tightly sealed metal containers

Keep material safety data sheets

Clean light fittings of insects

## Activity: Room Escape routes

Ensure the on-duty staff member has the master key in their possession

Ensure locked exits are fitted with electric door releases

Ensure there are two means of escape from every room

## Assessment: Fire Prevention

What is the DHS policy on smoking in buildings?

No smoking inside, smoking in designated areas only

What are some precautions you should take in the storage and labelling of hazardous materials?

Store flammable materials away from heat sources, and do not store them together

What type of key should staff have on them at all times?

A master key

Fires in laundries occur mostly because of?

Incorrect chemical storage, dirty filters in dryers and appliances left switched on

In fires, what is the most common cause of death?

Smoke

What precaution should be taken if the residential facility is fitted with a ducted heating system?

Outlet vents should not be blocked or used as a dryer

# Smoke Alarm Systems

## Assessment: Smoke Alarm Systems

What do you do if you discover a fault with the alarm panel or smoke alarms?

Notify your supervisor who will call the fire equipment service provider (FESP)

What options on smoke alarm systems, are available to awaken those with a hearing impairment?

Strobe light or vibrating pads under pillows

How often should smoke alarms be tested?

Monthly

# Sprinkler systems

## Assessment: Sprinkler systems

How often should staff in a residential facility check the sprinkler system and pressure gauges?

Weekly

Where should a sprinkler cabinet be located in a residence?

Generally at the front or side of the residence. Each building may differ slightly, but the cabinet will be identified in the Evacuation Plan.

What statement best describes how a sprinkler operates?

Heat from a fire expands the liquid in the bulb of the sprinkler head. This breaks the bulb releasing a cap and water is sprayed out over the fire

What is the purpose of checking the sprinkler system weekly?

To check for damage and for appropriate water pressure levels

Who should you contact if you detect a fault in the sprinkler system?

Report the fault immediately to the maintenance company via the faults procedure

# Emergency procedures theory

## Activity: Order of evacuation

1	Mobile and capable to evacuate themselves

2	People that can be evacuated with little assistance

3	People that are totally dependent on assistance

## Activity 1: Identify how to practice emergency evacuation procedures

Knowing how many staff are likely to be on duty at various times

How people will be alerted to an emergency situationIdentifying if 000 (triple zero) can be programmed into phones as a ‘quick’ dial number

Identifying security devices on doors

Identifying where telephones are

Knowing the types of emergencies that may occur in your residential facility

Maintaining a clear route to the assembly areas

## Activity 2: Identify how to practice emergency evacuation procedures

Closing the door when leaving a room that has been checked

Ensuring all rooms and areas have been checked for people

Being aware of where the emergency exits are and the distance to the outside doors

Crawling low to the ground if smoke is present, and closing doors quickly when exiting to prevent smoke travelling

Removing people out of a room with fire and relocating them to a safer location

Calling emergency services on 000 (triple zero) to inform them of the emergency

## Activity: Identify the steps for the Standard Fire Orders

1	Assist anyone in immediate danger

2	Close the door

3	Call the fire brigade

4	Evacuate to assembly point

5	Remain at the assembly area and ensure everybody is accounted for

## Activity: Identify the fire orders that have not been followed

Remain at the assembly area

Close doors to prevent fire spreading

## Activity: Identify what should be included in an evacuation diagram

The way out of every room

The location of the evacuation pack

The location of smoke alarms

The location of the sprinkler control valve assembly

The location of gas and electricity isolation points

The location of all installed firefighting equipment, such as fire blanket and portable fire extinguishers

Exit points from the residential facility and primary and secondary assembly areas

## Activity 1: Identify the appropriate evacuation routes and assembly areas

If it does not have any obstructions or other hazards

If it provides another way around the residential facility, away from the emergency

If it has a gate that can be opened easily

If it is easy to follow and takes you directly to the assembly areas

## Activity 2: Identify the appropriate evacuation routes and assembly areas

A public hall

A park

A school

Vacant land nearby

A neighbour’s front yard

A church

## Activity:  Identify which items should be in an evacuation pack

Evacuation plans

Emergency procedures

A list of the on-call telephone numbers

A house plan with bedroom locations

A first aid kit

Profiles of the clients that live in the building

A yellow vest, cap or tabard

Emergency telephone number list

Information about local emergency services

A torch

## Assessment: Emergency procedures theory

People with mobility impairment should be located in bedrooms close to exit doors.

True

The correct steps to take when discovering a fire are to assist any person in danger, to close the door, to call the fire brigade, to evacuate and to remain at assembly area.

True

What is the primary concern in a fire emergency?

Life safety

Which two of the following are reasons for needing a primary and a secondary assembly area?

Because conditions may block the use of one area

So you can go to the nearest point when evacuating

Which of five the following are situations that will typically require a residential facility to be evacuated?

House fire

Gas leak

Bomb threat

Intruders

Medical Incident

Why should everyone remain at the assembly area?

It helps us to check if everyone is out of the residential facility

Working as part of the emergency team is important because you work more effectively in getting as many people evacuated as possible in the shortest time.

True

The role of the emergency services is to evacuate as many people as safely as possible, to extinguish the fire, and to reset the alarm control panel, gas valves and sprinkler system.

True

Which two of the following are reasons for closing the door to a room when there is a fire?

You’ve checked the room and know no-one is inside

To prevent smoke spreading

Why should you check all rooms in the residential facility when evacuating?

To ensure everyone has evacuated

# Emergency evacuation exercises

## Activity: Effectively planning an exercise

Provide demonstrations of the various rescue techniques and any specialised emergency evacuation equipment

Always include people with a disability in the exercises

Identify the objectives of the exercise

Identify the location if the correct primary and secondary assembly points

Advise the neighbours of the date and time of exercise

Discuss with the other staff, the type of emergency and the scenario you want to test your procedures against

## Assessment: Emergency evacuation exercises

A debrief following a practical exercise has which three of the following purposes?

To identify any problems with the procedures

To review roles and responsibilities

To evaluate the effectiveness of the exercise

Conduct surprise exercises to test residents’ response times.

False

Staff are the best people to make a judgement about the appropriateness of including people with a disability in exercises/drills.

True

Emergency services generally require how much notice to attend a practice exercise?

10 - 12 weeks

When planning a practice evacuation exercise you should take which three of the following steps?

Decide how everyone will be told about the exercise

Advise the neighbours of the date and time of the exercise

Identify the objectives of the exercise

# Portable fire extinguishers and fire blankets

## Activity: What should this extinguisher be used for?

Paper fires

Fires caused by furnishings

Fires caused by flammable liquids

Fires caused by electrical equipment

Wood fires

## Activity: Using the fire blanket correctly

Remove the blanket from its storage case

Gently place the blanket over the pot

Turn off the source of heat and leave the blanket on the pot

Grip the two straps attached to the fire blanket

Hold the blanket at arm’s length

Approach the fire cautiously

Call the fire brigade and leave the pot on the stove

## Assessment: Portable fire extinguishers and fire blankets

How long will your fire extinguisher last after you start using it?

20 seconds

What type of extinguisher is recommended for your residential facility?

2.1kg 2A 20(E) type, portable dry chemical powder fire extinguisher

What colour is the portable dry chemical powder fire extinguisher?

Red & White

On what type of fires can you use a dry chemical powder extinguisher with a 2A 20B (E) rating?

Wood, paper, furnishings, electrical equipment, flammable liquids and cooking oil

Where should the fire extinguisher be located?

On the kitchen wall, near the door

When is it safe to use first attack equipment?

When the fire is small, for example when its contained to a small pot

What does PASS stand for?

P = Pull the pin

A = Aim the extinguisher

S = Squeeze the handle

S = Sweep the extinguisher from side to side

Once you have used a fire blanket or extinguisher

True

What should you do if a fire becomes bigger while using an extinguisher or fire blanket?

Evacuate

To use a fire blanket, you:

True

An extinguisher should be replaced when the pressure level is:

Outside the green area

# Other fire emergencies

## Activity: Radiant heat is the killer

Lie in a depression

Run towards burnt ground

Cover the body with soft earth

## Activity: Trapped in a car

1	Park in an area of bare ground

2	Turn lights on

3	Close all windows and vents

4	Lie down on the floor below window level

5	Shield yourself from radiant heat

6	Stay in the car until the fire front has passed

## Assessment: Other fire emergencies

What precautions should you take when you drive into smoke from a bush or grass fire?

Slow down, switch on headlights and watch out for other vehicles, people or objects (including the fire brigade)

What type of heat is the main killer in a bushfire?

Radiant heat

What safety equipment items should you carry in your car?

Large woollen blanket, water bottle, phone and first aid kit

You should get out of your car if caught in a bush/grass fire.

False

What types of fires are more likely in a rural setting?

Bushfires, grass fires and car fires

What should you make sure is always full of water during summer?

Water tank

When caught in a bush/grass fire, you should try to park your car on the barest ground available.

True

What is the best way to protect yourself from radiant heat in a bushfire?

Cover yourself with clothing, sheets of bark or soft earth, or lie down behind a log or large rock

Who should you contact for more information regarding rural fire safety?

Country Fire Authority (CFA)

What are two types of car fires you can experience?

Electrical fire, fuel fire